**Labelization guidelines**

Une image contenant extérieur, personne, ciel, banc

Description générée automatiquement

Une image contenant texte, zèbre

Description générée automatiquement

Contents


[I. Introduction 3](#_Toc121221234)

[II. Label rules 3](#_Toc121221235)

[III. Examples 3](#_Toc121221236)

[Level 1: 3](#_Toc121221237)

[Level 2 : 3](#_Toc121221238)

[ 4](#_Toc121221239)

[Level 3 : 4](#_Toc121221240)

[Level 4 : 5](#_Toc121221241)

[Level 5 7](#_Toc121221242)

1. Introduction

The detection of the quality of ECG data is paramount to be able to computer relevant indicators. Over certain noise levels it gets impossible to detect accurate QT lengths for example. In order to train and test our algorithms of noise level detection, we are making a database of 5s ECG signal Segments. The rules to label those segment are described in this document.

1. Label rules


We will use 5 levels of noise:

* 1 : All phases PQRST of the ECG are visible and clear during the full 5s segment
* 2 : The quality of the signal is good enough to detect QT segment length over the whole segment
* 3: It is possible to detect accurately R waves during the whole segment
* 4: there are some difficulties to detect R waves but we can still guess most of them, can include a part with saturation
* 5 : mostly noise

1. Examples


# Level 1:

PQRST




# Level 2 :

We see a step in the raw signal that impact the shape of one of the P waves, however all the QT segments are clear -> level 2





T wave seem okay, P wave visible but with difficulty




# Level 3 :

No doubt on QRS but deformations of T waves






QRS visible in the noise (much narrower and higher gradient than the rest, less error prone)




# Level 4 :


Some noise could be interpreted as a QRS




Some saturation make a few QRS disappear, but the other are clearly visible




Most QRS are visible but they might be difficulties for the part at the start




Poor signal but enough visible QRSs




Poor signal, but narrow QRS visibles, although there might be detection errors






# Level 5

Mostly noise



No signal (disconnexion)



Poor signal

